## Slide 1: For the period 2016-2017, a (20%) increase in total energy lost due to forced outages threatens the reliability of the power network, ranking AURICON, GW and MELK as the most unreliable energy providers, accounting for (60%) of all energy lost.
Key Insights:
Total Energy lost (MW)--------In 2016, Forced outages accounted for (55%) of the total amount of energy lost vs. (66%) in 2017, a (20%) increase, majorly driven by AURICON.
Forced outages------ In 2016, (65%) of all approved outages were Forced outages vs. (75%) in 2017, a (14%) increase majorly driven by AURICON.
Average outage duration ------ In 2016, the average outage duration for forced outages was (0.56) days vs. (0.79) days in 2017, a (41%) increase majorly driven by MELK.
Chart: Percentage of Forced outages
| 2016 | 2017
 | 0.655 | 0.747
Chart: Percentage of total energy lost due to forced outages
| 2016 | 2017
 | 0.55 | 0.66

## Slide 2: Forced outages contributed to (55%) in 2016 vs.(66%) in 2017 of total energy lost, a (20%) increase majorly driven by AURICON (102%).
For the period 2016-2017, AURICON, GW, and MELK contributed (60%) to all energy lost due to forced outages indicating extreme reliance on the 3 providers.
As an example, a single provider AURICON saw a (102%) in forced outages during 2017 resulting in more than 10% increase in forced outages energy lost for AEMR.
Provider | Energy Lost- Forced outages (2016) MW | Energy Lost- Forced outages (2017) MW | % of change | Energy lost- all outages (2016-2017) MW | Energy lost-Forced Outages (2016-2017) MW | Contribution to total Energy lost (2016-2017) | Contribution to total Energy lost-Forced outages (2016-2017)
AURICON | 10,696.28 | 21,639.55 | 102% | 52,243.66 | 32,335.83 | 21% | 21%
GW | 15,751.38 | 19,326.56 | 23% | 50,636.89 | 35,077.94 | 20% | 23%
MELK | 13,771.07 | 10,285.40 | -25% | 46,966.09 | 24,056.47 | 19% | 16%
PMC | 9,093.09 | 5,648.44 | -38% | 24,205.39 | 14,741.53 | 10% | 10%
PJRH | 5,881.52 | 4,839.28 | -18% | 20,555.71 | 10,720.80 | 8% | 7%
KORL | 4,040.32 | 4,679.68 | 16% | 14,253.00 | 8,720.00 | 6% | 6%
COLLGAR | 4,320.86 | 2,787.06 | -35% | 13,944.51 | 7,107.92 | 6% | 5%
TRMOS | 1,232.43 | 5,016.67 | 307% | 6,585.90 | 6,249.10 | 3% | 4%
AUXC | 2,734.14 | 1,768.76 | -35% | 4,629.90 | 4,502.90 | 2% | 3%
PUG | 815.47 | 4,112.10 | 404% | 8,349.57 | 4,927.57 | 3% | 3%
ENRG | 1,182.80 | 191.86 | -84% | 2,673.48 | 1,374.66 | 1% | 1%
DNHR | 1.44 | 1.44 | 0% | 36.00 | 2.88 | 0% | 0%
EUCT | 64.80 | 64.80 | 0% | 642.30 | 129.60 | 0% | 0%
MCG | 55.00 | 563.33 | 924% | 1,097.33 | 618.33 | 0% | 0%
MUND | 147.20 | 398.58 | 171% | 2,056.10 | 545.78 | 1% | 0%
STHRNCRS | 299.00 | 292.70 | -2% | 1,488.70 | 591.70 | 1% | 0%
TSLA_MGT | 160.00 | 169.90 | 6% | 1,981.80 | 329.90 | 1% | 0%
WGUTD | 54.00 | 221.29 | 310% | 653.29 | 275.29 | 0% | 0%

## Slide 3: Forced outages contributed to (65%) in 2016 vs. (75%) in 2017 of all approved outages, a (14%) increase majorly driven by AURICON (136%) increase.
The increase in energy lost due to forced outages is due to AURICON having a (136%) increase in number of forced outages during 2017.
While the 3 providers contribute to only (50%) of all outages, they are responsible for (60%) of total energy lost indicating that these providers supply to the areas with high demand.
Provider | Forced outages (2016) | Forced outages (2017) | % of change | Total Outages (2016-2017) | Total Forced Outages (2016-2017 | Contribution to all Approved Outages (2016-2017) | Contribution to total Forced Outages (2016-2017)
AURICON | 208 | 490 | 136% | 875 | 698 | 21% | 24%
GW | 317 | 227 | -28% | 672 | 544 | 16% | 19%
MELK | 157 | 177 | 13% | 536 | 334 | 13% | 12%
AUXC | 206 | 120 | -42% | 331 | 326 | 8% | 11%
TRMOS | 65 | 172 | 165% | 247 | 237 | 6% | 8%
PUG | 24 | 135 | 463% | 196 | 159 | 5% | 6%
PJRH | 81 | 72 | -11% | 288 | 153 | 7% | 5%
KORL | 53 | 76 | 43% | 195 | 129 | 5% | 4%
PMC | 69 | 40 | -42% | 168 | 109 | 4% | 4%
COLLGAR | 29 | 45 | 55% | 117 | 74 | 3% | 3%
ENRG | 21 | 7 | -67% | 123 | 28 | 3% | 1%
MUND | 4 | 15 | 275% | 61 | 19 | 1% | 1%
STHRNCRS | 13 | 18 | 38% | 70 | 31 | 2% | 1%
DNHR | 1 | 1 | 0% | 25 | 2 | 1% | 0%
EUCT | 11 | 3 | -73% | 45 | 14 | 1% | 0%
MCG | 1 | 12 | 1100% | 22 | 13 | 1% | 0%
TSLA_MGT | 2 | 4 | 100% | 110 | 6 | 3% | 0%
WGUTD | 2 | 8 | 300% | 21 | 10 | 1% | 0%

## Slide 4: Forced Outages had an average outage duration (0.56) days in 2016 vs. (0.79) days in 2017, a (41%) increase majorly driven by MELK.
Though MELK saw a 1621% increase in average outage duration(forced), the total energy lost decreased by (25%) YOY, indicating that either the outage was not during peak period, or it was better planned by the provider.
Leaving MELK, for most providers, average outage duration is decreasing, the number of forced outages is increasing, indicating a strong trend of mishandling forced outages. As a reference, the average MW loss per outage decreased by (9%) YOY even as the total energy lost increased by (20%).
Chart: Average Duration- Forced Outage (days)
| 2016 | 2017
 | 0.56 | 0.79
Provider | Avg duration - Forced outages (2016) | Avg duration -Forced outages (2017)) | % change | Avg duration-Approved outages (2017) | Avg duration-Approved outages (2017) | % change
AURICON | 0.07 | 0.08 | 14% | 0.32 | 0.24 | -25%
GW | 0.26 | 0.88 | 238% | 0.97 | 1.02 | 5%
MELK | 0.28 | 4.82 | 1621% | 2.19 | 5.82 | 166%
AUXC | 0.08 | 0.01 | -88% | 0.09 | 0.3 | 233%
COLLGAR | 0.4 | 0.98 | 145% | 1.59 | 3.09 | 94%
DNHR | 0.4 | 0.48 | 20% | 0.25 | 0.26 | 4%
ENRG | 15.71 | 4.19 | -73% | 7.16 | 6.42 | -10%
EUCT | 9.75 | 0.03 | -100% | 4.04 | 0.27 | -93%
KORL | 0.34 | 0.55 | 62% | 2.12 | 1.49 | -30%
MCG | 1.29 | 0.23 | -82% | 0.81 | 0.17 | -79%
MUND | 0.49 | 0.19 | -61% | 1.65 | 0.52 | -68%
PJRH | 0.31 | 0.44 | 42% | 1.91 | 1.85 | -3%
PMC | 0.32 | 0.03 | -91% | 0.56 | 0.4 | -29%
PUG | 0.92 | 0.18 | -80% | 1.61 | 0.34 | -79%
STHRNCRS | 0.33 | 0.21 | -36% | 0.4 | 0.37 | -8%
TRMOS | 0.18 | 0.04 | -78% | 0.7 | 0.09 | -87%
TSLA_MGT | 0.25 | 0.31 | 24% | 0.64 | 0.79 | 23%
WGUTD | 0.02 | 0.58 | 2800% | 1.29 | 1.28 | -1%
Chart: Avg Outage MW loss
| 2016 | 2017
 | 55.62 | 50.56

## Slide 5: In 2016, August witnessed the most forced outages to which GW contributed (67%) while January witnessed the highest energy loss, MELK contributed (18%). In 2017, December recorded the highest forced outages and energy lost, AURICON contributed (45%) and (55%) respectively.
Note:¹ We can clearly see the high increase in AURICON’s forced outages in 2017– resulting in an overall increase in forced outages.
Chart: Forced Outages 2017
| January | February | March | April | May | June | July | August | September | October | November | December
AURICON | 24 | 32 | 3 | 17 | 27 | 76 | 19 | 28 | 18 | 103 | 49 | 94
GW | 12 | 12 | 18 | 19 | 10 | 13 | 67 | 47 | 10 | 12 | 7 | 0
MELK | 9 | 6 | 0 | 10 | 13 | 8 | 21 | 36 | 18 | 24 | 10 | 22
Chart: Number of Forced Outages
| January | February | March | April | May | June | July | August | September | October | November | December
2016 | 134 | 149 | 94 | 87 | 100 | 113 | 79 | 152 | 96 | 67 | 127 | 66
2017 | 70 | 97 | 53 | 73 | 109 | 168 | 183 | 173 | 133 | 207 | 146 | 210
Chart: Total energy lost (Forced Outages)
| January | February | March | April | May | June | July | August | September | October | November | December
2016 | 9361.65 | 8038.62 | 5617.39 | 5232.28 | 4383.3 | 5538.5 | 4099.08 | 6434.68 | 6959.25 | 4018.39 | 6734.09 | 3883.57
2017 | 3826.34 | 6437.5 | 4314.29 | 5574.1 | 4362.49 | 7659.39 | 9526.76 | 10440.74 | 5593.03 | 5549.84 | 5563.58 | 13159.32
Chart: Avg MW Loss (Forced Outages)
| January | February | March | April | May | June | July | August | September | October | November | December
2016 | 69.86 | 53.95 | 59.76 | 60.14 | 43.83 | 49.01 | 51.89 | 42.33 | 72.49 | 59.98 | 53.02 | 58.84
2017 | 54.66 | 66.37 | 81.4 | 76.36 | 40.02 | 45.59 | 52.06 | 60.35 | 42.05 | 26.81 | 38.11 | 62.66
Chart: Total Energy lost (Forced Outages 2017)
| January | February | March | April | May | June | July | August | September | October | November | December
AURICON | 786.37 | 2007.46 | 270.99 | 1168.37 | 1014.52 | 1252.6 | 661.04 | 3345.41 | 587.71 | 1974.73 | 1303.02 | 7267.33
GW | 988.13 | 1658.82 | 2200.27 | 2061.6 | 1002.62 | 1749 | 5983.3 | 2657.86 | 398.65 | 248.68 | 377.64 | 0
MELK | 1295.41 | 751.42 | 0 | 449.35 | 593.81 | 503.36 | 470.57 | 1428.39 | 1250.71 | 1167.02 | 766.43 | 1608.93
Chart: Avg MW Loss (Forced Outages 2017)
| January | February | March | April | May | June | July | August | September | October | November | December
AURICON | 32.77 | 62.73 | 90.33 | 68.73 | 37.57 | 16.48 | 34.79 | 119.48 | 32.65 | 19.17 | 26.59 | 77.31
GW | 82.34 | 138.24 | 122.24 | 108.51 | 100.26 | 134.54 | 89.3 | 56.55 | 39.86 | 20.72 | 53.95 | 0
MELK | 143.93 | 125.24 | 0 | 44.93 | 45.68 | 62.92 | 22.41 | 39.68 | 69.48 | 48.63 | 76.64 | 73.13

## Slide 6: Recommendations
AEMR should equip providers with a guided steps manual to best handle Forced Outages.
Restructure the penalization system:
  For the period 2016-2017, while AURICON had the highest number of all approved outages and forced outages, GW lost the most energy. This indicates that total number of outages may not result in high energy loss, as a result, AEMR should Penalize providers based on amount of energy lost as opposed to number of outages.
Diversify power amongst providers:
  Looking at the contribution percentages per AURICON, GW, and MELK it’s evident that we are more reliant on those providers than other providers.
  Consider shifting some of the load to DNHR,MCG, EUCT, and WGUTD – contributing the least to energy loss and forced outages.
Change the Penalization system according to areas of high demand and areas facing high outages.